WWHM2012

PROJECT REPORT

___________________________________________________________________

Project Name: Bioretention

Site Name: Kessler Center

Site Address:

City     :

Report Date: 5/28/2020

Gage     : 42 IN EAST

Data Start : 10/01/1901

Data End : 09/30/2059

Precip Scale: 1.00

Version Date: 2019/09/13

Version : 4.2.17

___________________________________________________________________

Low Flow Threshold for POC 1 : 50 Percent of the 2 Year

___________________________________________________________________

High Flow Threshold for POC 1: 50 year

___________________________________________________________________

PREDEVELOPED LAND USE

Name   : Basin  1

Bypass: No

GroundWater: No

Pervious Land Use           acre

C, Forest, Flat              5.4

Pervious Total                5.4

Impervious Land Use         acre

Impervious Total              0

Basin Total                   5.4

___________________________________________________________________

Element Flows To:

Surface               Interflow               Groundwater

___________________________________________________________________

MITIGATED LAND USE

Name   : Basin  1

Bypass: No

GroundWater: No

Pervious Land Use           acre

C, Pasture, Flat             1.59

Pervious Total                1.59

Impervious Land Use         acre

PARKING FLAT                 3.81

Impervious Total              3.81

Basin Total                   5.4

___________________________________________________________________

Element Flows To:

Surface               Interflow               Groundwater

Surface retention  1  Surface retention  1

___________________________________________________________________

Name   : Bioretention  1

Bottom Length: 80.00 ft.

Bottom Width: 23.75 ft.

Material thickness of first layer:  0.25

Material type for first layer:  SMMWW 12 in/hr

Material thickness of second layer:  1.5

Material type for second layer:  SMMWW 12 in/hr

Material thickness of third layer:  1.5

Material type for third layer:  GRAVEL

Underdrain used

Underdrain Diameter (feet):  6

Orifice Diameter (in.):  6

Offset (in.):  6

Flow Through Underdrain (ac-ft.):  1780.518

Total Outflow (ac-ft.):  1935.998

Percent Through Underdrain:  91.97

Discharge Structure

Riser Height: 1 ft.

Riser Diameter: 17.825 in.

Element Flows To:

Outlet 1              Outlet 2

___________________________________________________________________

Bioretention  1 Hydraulic Table

Stage(feet)  Area(ac.)  Volume(ac-ft.) Discharge(cfs) Infilt(cfs)

0.0000      0.0436      0.0000      0.0000      0.0000

0.0522      0.0436      0.0010      0.0000      0.0000

0.1044      0.0436      0.0021      0.0000      0.0000

0.1566      0.0436      0.0031      0.0000      0.0000

0.2088      0.0436      0.0042      0.0000      0.0000

0.2610      0.0436      0.0052      0.0000      0.0000

0.3132      0.0436      0.0062      0.0000      0.0000

0.3654      0.0436      0.0073      0.0000      0.0000

0.4176      0.0436      0.0083      0.0000      0.0000

0.4698      0.0436      0.0094      0.0000      0.0000

0.5220      0.0436      0.0104      0.0000      0.0000

0.5742      0.0436      0.0115      0.0000      0.0000

0.6264      0.0436      0.0125      0.0000      0.0000

0.6786      0.0436      0.0135      0.0000      0.0000

0.7308      0.0436      0.0146      0.0000      0.0000

0.7830      0.0436      0.0156      0.0000      0.0000

0.8352      0.0436      0.0167      0.0000      0.0000

0.8874      0.0436      0.0177      0.0000      0.0000

0.9396      0.0436      0.0187      0.0000      0.0000

0.9918      0.0436      0.0198      0.0000      0.0000

1.0440      0.0436      0.0208      0.0000      0.0000

1.0962      0.0436      0.0219      0.0000      0.0000

1.1484      0.0436      0.0229      0.0000      0.0000

1.2005      0.0436      0.0239      0.0000      0.0000

1.2527      0.0436      0.0250      0.0000      0.0000

1.3049      0.0436      0.0260      0.0000      0.0000

1.3571      0.0436      0.0271      0.0000      0.0000

1.4093      0.0436      0.0281      0.0000      0.0000

1.4615      0.0436      0.0292      0.0000      0.0000

1.5137      0.0436      0.0302      0.0000      0.0000

1.5659      0.0436      0.0312      0.0000      0.0000

1.6181      0.0436      0.0323      0.0000      0.0000

1.6703      0.0436      0.0333      0.0000      0.0000

1.7225      0.0436      0.0344      0.0000      0.0000

1.7747      0.0436      0.0353      0.0000      0.0000

1.8269      0.0436      0.0362      0.0000      0.0000

1.8791      0.0436      0.0372      0.0000      0.0000

1.9313      0.0436      0.0381      0.0000      0.0000

1.9835      0.0436      0.0391      0.0000      0.0000

2.0357      0.0436      0.0400      0.0000      0.0000

2.0879      0.0436      0.0410      0.0000      0.0000

2.1401      0.0436      0.0419      0.0000      0.0000

2.1923      0.0436      0.0429      0.0000      0.0000

2.2445      0.0436      0.0438      0.0000      0.0000

2.2967      0.0436      0.0448      0.0522      0.0000

2.3489      0.0436      0.0457      0.2419      0.0000

2.4011      0.0436      0.0466      0.2419      0.0000

2.4533      0.0436      0.0476      0.2419      0.0000

2.5055      0.0436      0.0485      0.2419      0.0000

2.5577      0.0436      0.0495      0.2419      0.0000

2.6099      0.0436      0.0504      0.2419      0.0000

2.6621      0.0436      0.0514      0.2419      0.0000

2.7143      0.0436      0.0523      0.2419      0.0000

2.7665      0.0436      0.0533      0.2419      0.0000

2.8187      0.0436      0.0542      0.2419      0.0000

2.8709      0.0436      0.0551      0.2419      0.0000

2.9231      0.0436      0.0561      0.2419      0.0000

2.9753      0.0436      0.0570      0.2419      0.0000

3.0275      0.0436      0.0580      0.2419      0.0000

3.0797      0.0436      0.0589      0.2419      0.0000

3.1319      0.0436      0.0599      0.2419      0.0000

3.1841      0.0436      0.0608      0.2419      0.0000

3.2363      0.0436      0.0618      0.2419      0.0000

3.2500      0.0436      0.0620      0.2419      0.0000

Surface retention  1 Hydraulic Table

Stage(feet)  Area(ac.)  Volume(ac-ft.) Discharge(cfs) To Amended(cfs)  Wetted Surface

3.2500      0.0436      0.0620      0.0000      0.1319        0.0000

3.3022      0.0444      0.0643      0.0000      0.1319        0.0000

3.3544      0.0451      0.0666      0.0000      0.1631        0.0000

3.4066      0.0459      0.0690      0.0000      0.1677        0.0000

3.4588      0.0466      0.0714      0.0000      0.1723        0.0000

3.5110      0.0474      0.0739      0.0000      0.1769        0.0000

3.5632      0.0482      0.0764      0.0000      0.1815        0.0000

3.6154      0.0489      0.0789      0.0000      0.1861        0.0000

3.6676      0.0497      0.0815      0.0000      0.1907        0.0000

3.7198      0.0505      0.0841      0.0000      0.1953        0.0000

3.7720      0.0513      0.0868      0.0000      0.1999        0.0000

3.8242      0.0521      0.0895      0.0000      0.2044        0.0000

3.8764      0.0529      0.0922      0.0000      0.2090        0.0000

3.9286      0.0537      0.0950      0.0000      0.2136        0.0000

3.9808      0.0545      0.0978      0.0000      0.2182        0.0000

4.0330      0.0553      0.1007      0.0000      0.2228        0.0000

4.0852      0.0561      0.1036      0.0000      0.2274        0.0000

4.1374      0.0569      0.1065      0.0000      0.2320        0.0000

4.1896      0.0578      0.1095      0.0000      0.2366        0.0000

4.2418      0.0586      0.1126      0.0000      0.2412        0.0000

4.2940      0.0594      0.1156      0.1452      0.2458        0.0000

4.3462      0.0603      0.1188      0.4689      0.2504        0.0000

4.3984      0.0611      0.1219      0.8952      0.2549        0.0000

4.4505      0.0620      0.1251      1.3958      0.2595        0.0000

4.5027      0.0628      0.1284      1.9481      0.2641        0.0000

4.5549      0.0637      0.1317      2.5294      0.2687        0.0000

4.6071      0.0645      0.1351      3.1165      0.2733        0.0000

4.6593      0.0654      0.1384      3.6860      0.2779        0.0000

4.7115      0.0663      0.1419      4.2159      0.2825        0.0000

4.7500      0.0669      0.1444      4.6875      0.2859        0.0000

___________________________________________________________________

Name   : Surface retention  1

Element Flows To:

Outlet 1              Outlet 2

Bioretention  1

___________________________________________________________________

___________________________________________________________________

ANALYSIS RESULTS

Stream Protection Duration

___________________________________________________________________

Predeveloped Landuse Totals for POC #1

Total Pervious Area:5.4

Total Impervious Area:0

___________________________________________________________________

Mitigated Landuse Totals for POC #1

Total Pervious Area:1.59

Total Impervious Area:3.81

___________________________________________________________________

Flow Frequency Return Periods for Predeveloped.  POC #1

Return Period         Flow(cfs)

2 year                  0.130042

5 year                  0.199514

10 year                 0.242184

25 year                 0.291485

50 year                 0.324883

100 year                0.355606

Flow Frequency Return Periods for Mitigated.  POC #1

Return Period         Flow(cfs)

2 year                  1.216164

5 year                  1.669873

10 year                 1.991638

25 year                 2.422883

50 year                 2.762325

100 year                3.117577

___________________________________________________________________

Stream Protection Duration

Annual Peaks for Predeveloped and Mitigated.  POC #1

Year         Predeveloped    Mitigated

1902           0.125          1.381

1903           0.079          1.663

1904           0.147          1.968

1905           0.069          0.832

1906           0.041          0.905

1907           0.203          1.386

1908           0.143          1.030

1909           0.139          1.357

1910           0.198          1.324

1911           0.129          1.292

1912           0.448          2.659

1913           0.201          0.770

1914           0.052          3.956

1915           0.089          0.695

1916           0.130          1.612

1917           0.046          0.658

1918           0.134          1.275

1919           0.113          0.639

1920           0.132          1.009

1921           0.144          0.846

1922           0.141          1.032

1923           0.115          1.071

1924           0.057          1.399

1925           0.075          0.762

1926           0.124          1.538

1927           0.103          1.122

1928           0.098          1.019

1929           0.197          1.854

1930           0.126          1.972

1931           0.124          0.930

1932           0.092          1.084

1933           0.109          1.023

1934           0.259          1.720

1935           0.122          0.848

1936           0.117          1.079

1937           0.176          1.481

1938           0.111          0.909

1939           0.012          1.105

1940           0.122          1.765

1941           0.079          1.441

1942           0.185          1.458

1943           0.087          1.489

1944           0.197          2.174

1945           0.147          1.605

1946           0.083          1.231

1947           0.066          0.987

1948           0.273          1.213

1949           0.243          1.862

1950           0.078          0.785

1951           0.100          1.025

1952           0.349          2.160

1953           0.323          1.946

1954           0.118          1.091

1955           0.103          0.735

1956           0.058          0.612

1957           0.171          0.951

1958           0.341          1.417

1959           0.212          1.432

1960           0.060          1.001

1961           0.215          2.995

1962           0.122          1.263

1963           0.057          0.731

1964           0.068          2.293

1965           0.243          1.203

1966           0.074          0.816

1967           0.109          0.936

1968           0.120          0.922

1969           0.111          1.157

1970           0.170          1.269

1971           0.254          1.312

1972           0.167          3.629

1973           0.218          2.035

1974           0.118          1.642

1975           0.265          1.893

1976           0.146          1.878

1977           0.073          0.795

1978           0.233          1.478

1979           0.072          1.304

1980           0.140          1.132

1981           0.134          1.340

1982           0.073          0.970

1983           0.215          1.516

1984           0.100          1.427

1985           0.160          1.116

1986           0.132          0.862

1987           0.248          1.280

1988           0.155          0.891

1989           0.142          0.810

1990           0.168          1.058

1991           0.132          1.422

1992           0.163          1.432

1993           0.173          1.738

1994           0.253          1.241

1995           0.062          0.718

1996           0.277          1.232

1997           0.124          0.893

1998           0.141          1.323

1999           0.019          1.119

2000           0.107          1.316

2001           0.055          0.898

2002           0.188          1.926

2003           0.163          1.071

2004           0.139          1.616

2005           0.268          2.652

2006           0.084          0.817

2007           0.093          1.592

2008           0.141          1.077

2009           0.096          1.004

2010           0.082          1.341

2011           0.076          0.655

2012           0.129          1.312

2013           0.082          0.881

2014           0.059          1.054

2015           0.114          1.949

2016           0.047          0.698

2017           0.187          1.968

2018           0.343          1.290

2019           0.362          1.789

2020           0.109          1.452

2021           0.177          1.257

2022           0.075          1.879

2023           0.149          2.262

2024           0.401          2.847

2025           0.133          0.722

2026           0.213          1.395

2027           0.084          1.250

2028           0.072          0.524

2029           0.142          1.063

2030           0.261          1.512

2031           0.084          0.686

2032           0.058          0.744

2033           0.079          0.622

2034           0.080          1.056

2035           0.305          1.398

2036           0.157          0.942

2037           0.045          1.133

2038           0.132          1.406

2039           0.022          2.471

2040           0.080          1.115

2041           0.094          1.347

2042           0.308          1.503

2043           0.149          1.411

2044           0.194          1.175

2045           0.128          0.995

2046           0.150          0.934

2047           0.112          1.373

2048           0.149          1.116

2049           0.134          1.592

2050           0.097          1.133

2051           0.154          1.773

2052           0.084          0.878

2053           0.144          1.086

2054           0.175          1.703

2055           0.072          1.231

2056           0.065          1.422

2057           0.099          0.867

2058           0.123          1.325

2059           0.206          1.394

___________________________________________________________________

Stream Protection Duration

Ranked Annual Peaks for Predeveloped and Mitigated.  POC #1

Rank     Predeveloped        Mitigated

1         0.4480              3.9561

2         0.4014              3.6288

3         0.3623              2.9955

4         0.3492              2.8467

5         0.3429              2.6586

6         0.3405              2.6521

7         0.3229              2.4715

8         0.3079              2.2926

9         0.3052              2.2624

10        0.2766              2.1743

11        0.2732              2.1598

12        0.2680              2.0347

13        0.2647              1.9722

14        0.2608              1.9681

15        0.2589              1.9677

16        0.2542              1.9486

17        0.2532              1.9462

18        0.2483              1.9261

19        0.2434              1.8927

20        0.2432              1.8788

21        0.2325              1.8777

22        0.2179              1.8623

23        0.2155              1.8541

24        0.2146              1.7890

25        0.2128              1.7727

26        0.2120              1.7647

27        0.2057              1.7383

28        0.2031              1.7200

29        0.2005              1.7028

30        0.1977              1.6627

31        0.1967              1.6422

32        0.1966              1.6163

33        0.1940              1.6120

34        0.1875              1.6054

35        0.1868              1.5921

36        0.1845              1.5919

37        0.1774              1.5383

38        0.1757              1.5159

39        0.1745              1.5121

40        0.1735              1.5029

41        0.1714              1.4886

42        0.1699              1.4814

43        0.1676              1.4777

44        0.1670              1.4582

45        0.1634              1.4521

46        0.1628              1.4414

47        0.1605              1.4325

48        0.1567              1.4320

49        0.1546              1.4275

50        0.1544              1.4222

51        0.1503              1.4216

52        0.1491              1.4174

53        0.1489              1.4115

54        0.1488              1.4058

55        0.1467              1.3986

56        0.1466              1.3981

57        0.1456              1.3947

58        0.1444              1.3939

59        0.1436              1.3865

60        0.1431              1.3814

61        0.1420              1.3726

62        0.1419              1.3571

63        0.1411              1.3466

64        0.1408              1.3414

65        0.1407              1.3400

66        0.1401              1.3248

67        0.1392              1.3239

68        0.1389              1.3225

69        0.1339              1.3162

70        0.1336              1.3121

71        0.1335              1.3120

72        0.1329              1.3038

73        0.1322              1.2922

74        0.1320              1.2895

75        0.1319              1.2802

76        0.1318              1.2745

77        0.1298              1.2694

78        0.1288              1.2632

79        0.1287              1.2566

80        0.1280              1.2503

81        0.1265              1.2410

82        0.1248              1.2317

83        0.1245              1.2312

84        0.1241              1.2307

85        0.1237              1.2131

86        0.1233              1.2026

87        0.1216              1.1748

88        0.1216              1.1569

89        0.1215              1.1333

90        0.1196              1.1330

91        0.1182              1.1324

92        0.1176              1.1224

93        0.1174              1.1191

94        0.1152              1.1163

95        0.1141              1.1162

96        0.1127              1.1154

97        0.1124              1.1049

98        0.1111              1.0914

99        0.1109              1.0857

100       0.1094              1.0844

101       0.1089              1.0791

102       0.1086              1.0772

103       0.1068              1.0714

104       0.1030              1.0708

105       0.1027              1.0632

106       0.1003              1.0578

107       0.0998              1.0562

108       0.0991              1.0544

109       0.0979              1.0316

110       0.0968              1.0296

111       0.0961              1.0251

112       0.0942              1.0232

113       0.0929              1.0189

114       0.0924              1.0093

115       0.0890              1.0038

116       0.0870              1.0010

117       0.0844              0.9951

118       0.0843              0.9869

119       0.0841              0.9698

120       0.0839              0.9509

121       0.0827              0.9419

122       0.0825              0.9357

123       0.0824              0.9338

124       0.0799              0.9301

125       0.0798              0.9225

126       0.0795              0.9092

127       0.0791              0.9054

128       0.0789              0.8975

129       0.0779              0.8934

130       0.0759              0.8906

131       0.0754              0.8814

132       0.0751              0.8779

133       0.0745              0.8675

134       0.0732              0.8623

135       0.0727              0.8480

136       0.0724              0.8457

137       0.0717              0.8321

138       0.0715              0.8166

139       0.0695              0.8161

140       0.0681              0.8104

141       0.0656              0.7947

142       0.0646              0.7853

143       0.0622              0.7699

144       0.0596              0.7619

145       0.0591              0.7444

146       0.0584              0.7355

147       0.0581              0.7312

148       0.0571              0.7215

149       0.0570              0.7182

150       0.0554              0.6978

151       0.0520              0.6953

152       0.0467              0.6865

153       0.0455              0.6582

154       0.0448              0.6550

155       0.0412              0.6389

156       0.0218              0.6223

157       0.0194              0.6117

158       0.0122              0.5237

___________________________________________________________________

Stream Protection Duration

POC #1

The Facility FAILED

Facility FAILED duration standard for 1+ flows.

Flow(cfs) Predev  Mit Percentage Pass/Fail

0.0650    60110   414341 689    Fail

0.0676    55029   407860 741    Fail

0.0703    50354   401544 797    Fail

0.0729    46171   395394 856    Fail

0.0755    42332   389466 920    Fail

0.0781    38969   383760 984    Fail

0.0808    35983   378331 1051   Fail

0.0834    33263   373068 1121   Fail

0.0860    30692   368026 1199   Fail

0.0886    28315   363096 1282   Fail

0.0913    26326   358442 1361   Fail

0.0939    24487   353955 1445   Fail

0.0965    22786   349633 1534   Fail

0.0991    21235   345478 1626   Fail

0.1018    19861   341600 1719   Fail

0.1044    18570   337778 1818   Fail

0.1070    17219   333900 1939   Fail

0.1096    16022   330354 2061   Fail

0.1123    14936   326753 2187   Fail

0.1149    13933   323374 2320   Fail

0.1175    12980   319939 2464   Fail

0.1201    12138   316781 2609   Fail

0.1228    11329   313623 2768   Fail

0.1254    10609   310465 2926   Fail

0.1280    9850    306920 3115   Fail

0.1306    9180    303263 3303   Fail

0.1333    8548    299274 3501   Fail

0.1359    7983    294842 3693   Fail

0.1385    7429    289912 3902   Fail

0.1411    6958    285092 4097   Fail

0.1438    6559    280493 4276   Fail

0.1464    6216    276117 4442   Fail

0.1490    5895    271685 4608   Fail

0.1516    5584    267530 4791   Fail

0.1543    5277    263264 4988   Fail

0.1569    5021    258998 5158   Fail

0.1595    4761    254012 5335   Fail

0.1621    4528    248361 5485   Fail

0.1648    4297    239054 5563   Fail

0.1674    4078    225758 5535   Fail

0.1700    3861    212905 5514   Fail

0.1726    3657    201437 5508   Fail

0.1753    3444    190800 5540   Fail

0.1779    3287    180717 5497   Fail

0.1805    3124    170966 5472   Fail

0.1831    2978    162102 5443   Fail

0.1858    2830    153571 5426   Fail

0.1884    2689    145537 5412   Fail

0.1910    2575    137671 5346   Fail

0.1936    2452    130469 5320   Fail

0.1963    2359    123543 5237   Fail

0.1989    2242    117006 5218   Fail

0.2015    2140    110524 5164   Fail

0.2041    1992    104596 5250   Fail

0.2068    1869    98890  5291   Fail

0.2094    1759    93461  5313   Fail

0.2120    1673    88087  5265   Fail

0.2146    1583    83267  5260   Fail

0.2173    1506    78558  5216   Fail

0.2199    1430    74237  5191   Fail

0.2225    1353    69805  5159   Fail

0.2251    1296    65871  5082   Fail

0.2278    1234    62215  5041   Fail

0.2304    1187    58725  4947   Fail

0.2330    1118    55456  4960   Fail

0.2356    1073    52548  4897   Fail

0.2383    1026    49944  4867   Fail

0.2409    968     47905  4948   Fail

0.2435    895     35069  3918   Fail

0.2461    834     34742  4165   Fail

0.2488    783     34393  4392   Fail

0.2514    737     34055  4620   Fail

0.2540    678     33711  4972   Fail

0.2566    631     33368  5288   Fail

0.2593    589     33035  5608   Fail

0.2619    556     32692  5879   Fail

0.2645    510     32343  6341   Fail

0.2671    475     32022  6741   Fail

0.2698    432     31689  7335   Fail

0.2724    391     31340  8015   Fail

0.2750    367     31002  8447   Fail

0.2776    340     30703  9030   Fail

0.2803    305     30354  9952   Fail

0.2829    281     29999  10675  Fail

0.2855    265     29656  11190  Fail

0.2881    247     29301  11862  Fail

0.2908    233     28980  12437  Fail

0.2934    220     28648  13021  Fail

0.2960    204     28310  13877  Fail

0.2986    182     27977  15371  Fail

0.3013    161     27662  17181  Fail

0.3039    139     27351  19676  Fail

0.3065    117     27013  23088  Fail

0.3091    110     26714  24285  Fail

0.3118    101     26398  26136  Fail

0.3144    92      26083  28351  Fail

0.3170    85      25772  30320  Fail

0.3196    73      25479  34902  Fail

0.3223    64      25169  39326  Fail

0.3249    54      24836  45992  Fail

_____________________________________________________

The development has an increase in flow durations

from 1/2 Predeveloped 2 year flow to the 2 year flow

or more than a 10% increase from the 2 year to the 50

year flow.

The development has an increase in flow durations for

more than  50% of the flows for the range of the

duration analysis.

___________________________________________________________________

Water Quality BMP Flow and Volume for POC #1

On-line facility volume: 0.1405 acre-feet

On-line facility target flow: 0.1719 cfs.

Adjusted for 15 min: 0.1719 cfs.

Off-line facility target flow: 0.0991 cfs.

Adjusted for 15 min: 0.0991 cfs.

___________________________________________________________________

LID Report

LID Technique                 Used for    Total Volume   Volume    Infiltration  Cumulative   Percent     Water Quality  Percent       Comment

Treatment?  Needs          Through   Volume        Volume       Volume                     Water Quality

Treatment      Facility  (ac-ft.)       Infiltration Infiltrated                Treated

(ac-ft)        (ac-ft)                 Credit

retention  1 POC                   N      1761.76                                      N      0.00

Total Volume Infiltrated                  1761.76        0.00      0.00                       0.00        0.00           0%            No Treat. Credit

Compliance with LID Standard 8                                                                                                         Duration Analysis Result = Failed

___________________________________________________________________

Perlnd and Implnd Changes

No changes have been made.

___________________________________________________________________

This program and accompanying documentation are provided 'as-is' without warranty of any kind.  The entire risk regarding the performance and results of this program is assumed by End User.   Clear Creek Solutions Inc. and the governmental licensee or sublicensees disclaim all warranties, either expressed or implied, including but not limited to implied warranties of program and accompanying documentation.  In no event shall Clear Creek Solutions Inc. be liable for any damages whatsoever (including without limitation to damages for loss of business profits, loss of business information, business interruption, and the like) arising out of the use of, or inability to use this program even if Clear Creek Solutions Inc. or their authorized representatives have been advised of the possibility of such damages.  Software Copyright © by : Clear Creek Solutions, Inc. 2005-2020; All Rights Reserved.