WWHM2012

PROJECT REPORT

___________________________________________________________________

Project Name: Infiltration Trench

Site Name: PSD Support Campus

Site Address:

City     :

Report Date: 5/28/2020

Gage     : 42 IN EAST

Data Start : 10/01/1901

Data End : 09/30/2059

Precip Scale: 1.00

Version Date: 2019/09/13

Version : 4.2.17

___________________________________________________________________

Low Flow Threshold for POC 1 : 50 Percent of the 2 Year

___________________________________________________________________

High Flow Threshold for POC 1: 50 year

___________________________________________________________________

PREDEVELOPED LAND USE

Name   : Basin  1

Bypass: No

GroundWater: No

Pervious Land Use           acre

C, Forest, Flat              5.87

Pervious Total                5.87

Impervious Land Use         acre

Impervious Total              0

Basin Total                   5.87

___________________________________________________________________

Element Flows To:

Surface               Interflow               Groundwater

___________________________________________________________________

MITIGATED LAND USE

Name   : Basin  1

Bypass: No

GroundWater: No

Pervious Land Use           acre

C, Pasture, Flat             1.59

Pervious Total                1.59

Impervious Land Use         acre

PARKING FLAT                 4.28

Impervious Total              4.28

Basin Total                   5.87

___________________________________________________________________

Element Flows To:

Surface               Interflow               Groundwater

Gravel Trench Bed 1   Gravel Trench Bed 1

___________________________________________________________________

Name   : Gravel Trench Bed 1

Bottom Length: 952.00 ft.

Bottom Width: 5.00 ft.

Trench bottom slope  1: 0.001 To 1

Trench Left side slope  0: 0.001 To 1

Trench right side slope  2: 0.001 To 1

Material thickness of first layer:  2

Pour Space of material for first layer:  0.4

Material thickness of second layer:  7

Pour Space of material for second layer:  0.57

Material thickness of third layer:  1

Pour Space of material for third layer:  0.4

Infiltration On

Infiltration rate: 5

Infiltration safety factor: 1

Total Volume Infiltrated (ac-ft.): 2144.579

Total Volume Through Riser (ac-ft.): 0.129

Total Volume Through Facility (ac-ft.): 2144.708

Percent Infiltrated: 99.99

Total Precip Applied to Facility: 0

Total Evap From Facility: 0

Discharge Structure

Riser Height: 10 ft.

Riser Diameter: 100 in.

Element Flows To:

Outlet 1              Outlet 2

___________________________________________________________________

Gravel Trench Bed Hydraulic Table

Stage(feet)  Area(ac.)  Volume(ac-ft.) Discharge(cfs) Infilt(cfs)

0.0000      0.109      0.000      0.000      0.000

0.1222      0.109      0.005      0.000      0.550

0.2444      0.109      0.010      0.000      0.550

0.3667      0.109      0.016      0.000      0.550

0.4889      0.109      0.021      0.000      0.550

0.6111      0.109      0.026      0.000      0.550

0.7333      0.109      0.032      0.000      0.550

0.8556      0.109      0.037      0.000      0.550

0.9778      0.109      0.042      0.000      0.550

1.1000      0.109      0.048      0.000      0.550

1.2222      0.109      0.053      0.000      0.550

1.3444      0.109      0.058      0.000      0.550

1.4667      0.109      0.064      0.000      0.550

1.5889      0.109      0.069      0.000      0.550

1.7111      0.109      0.074      0.000      0.550

1.8333      0.109      0.080      0.000      0.550

1.9556      0.109      0.085      0.000      0.550

2.0778      0.109      0.093      0.000      0.550

2.2000      0.109      0.100      0.000      0.550

2.3222      0.109      0.108      0.000      0.550

2.4444      0.109      0.116      0.000      0.550

2.5667      0.109      0.123      0.000      0.550

2.6889      0.109      0.131      0.000      0.550

2.8111      0.109      0.138      0.000      0.550

2.9333      0.109      0.146      0.000      0.550

3.0556      0.109      0.154      0.000      0.550

3.1778      0.109      0.161      0.000      0.550

3.3000      0.109      0.169      0.000      0.550

3.4222      0.109      0.177      0.000      0.550

3.5444      0.109      0.184      0.000      0.550

3.6667      0.109      0.192      0.000      0.550

3.7889      0.109      0.199      0.000      0.550

3.9111      0.109      0.207      0.000      0.550

4.0333      0.109      0.215      0.000      0.550

4.1556      0.109      0.222      0.000      0.550

4.2778      0.109      0.230      0.000      0.550

4.4000      0.109      0.238      0.000      0.550

4.5222      0.109      0.245      0.000      0.550

4.6444      0.109      0.253      0.000      0.550

4.7667      0.109      0.260      0.000      0.550

4.8889      0.109      0.268      0.000      0.550

5.0111      0.109      0.276      0.000      0.550

5.1333      0.109      0.283      0.000      0.550

5.2556      0.109      0.291      0.000      0.550

5.3778      0.109      0.299      0.000      0.550

5.5000      0.109      0.306      0.000      0.550

5.6222      0.109      0.314      0.000      0.550

5.7444      0.109      0.321      0.000      0.550

5.8667      0.109      0.329      0.000      0.550

5.9889      0.109      0.337      0.000      0.550

6.1111      0.109      0.344      0.000      0.550

6.2333      0.109      0.352      0.000      0.550

6.3556      0.109      0.360      0.000      0.550

6.4778      0.109      0.367      0.000      0.550

6.6000      0.109      0.375      0.000      0.550

6.7222      0.109      0.382      0.000      0.550

6.8444      0.109      0.390      0.000      0.550

6.9667      0.109      0.398      0.000      0.550

7.0889      0.109      0.405      0.000      0.550

7.2111      0.109      0.413      0.000      0.550

7.3333      0.109      0.421      0.000      0.550

7.4556      0.109      0.428      0.000      0.550

7.5778      0.109      0.436      0.000      0.550

7.7000      0.109      0.444      0.000      0.550

7.8222      0.109      0.451      0.000      0.550

7.9444      0.109      0.459      0.000      0.550

8.0667      0.109      0.466      0.000      0.550

8.1889      0.109      0.474      0.000      0.550

8.3111      0.109      0.482      0.000      0.550

8.4333      0.109      0.489      0.000      0.550

8.5556      0.109      0.497      0.000      0.550

8.6778      0.109      0.505      0.000      0.550

8.8000      0.109      0.512      0.000      0.550

8.9222      0.109      0.520      0.000      0.550

9.0444      0.109      0.525      0.000      0.550

9.1667      0.109      0.531      0.000      0.550

9.2889      0.109      0.536      0.000      0.550

9.4111      0.109      0.541      0.000      0.550

9.5333      0.109      0.547      0.000      0.550

9.6556      0.109      0.552      0.000      0.550

9.7778      0.109      0.557      0.000      0.550

9.9000      0.109      0.563      0.000      0.550

10.022      0.109      0.576      0.293      0.550

10.144      0.109      0.590      4.854      0.550

10.267      0.109      0.603      12.17      0.550

10.389      0.109      0.616      21.42      0.550

10.511      0.109      0.630      32.24      0.550

10.633      0.109      0.643      44.43      0.550

10.756      0.109      0.657      57.80      0.550

10.878      0.109      0.670      72.21      0.550

11.000      0.109      0.684      87.54      0.550

___________________________________________________________________

___________________________________________________________________

ANALYSIS RESULTS

Stream Protection Duration

___________________________________________________________________

Predeveloped Landuse Totals for POC #1

Total Pervious Area:5.87

Total Impervious Area:0

___________________________________________________________________

Mitigated Landuse Totals for POC #1

Total Pervious Area:1.59

Total Impervious Area:4.28

___________________________________________________________________

Flow Frequency Return Periods for Predeveloped.  POC #1

Return Period         Flow(cfs)

2 year                  0.14136

5 year                  0.216879

10 year                 0.263262

25 year                 0.316855

50 year                 0.353159

100 year                0.386556

Flow Frequency Return Periods for Mitigated.  POC #1

Return Period         Flow(cfs)

2 year                  0

5 year                  0

10 year                 0

25 year                 0

50 year                 0

100 year                0

___________________________________________________________________

Stream Protection Duration

Annual Peaks for Predeveloped and Mitigated.  POC #1

Year         Predeveloped    Mitigated

1902           0.136          0.000

1903           0.086          0.000

1904           0.159          0.000

1905           0.076          0.000

1906           0.045          0.000

1907           0.221          0.000

1908           0.156          0.000

1909           0.151          0.000

1910           0.215          0.000

1911           0.140          0.000

1912           0.487          0.000

1913           0.218          0.000

1914           0.056          0.000

1915           0.097          0.000

1916           0.141          0.000

1917           0.049          0.000

1918           0.145          0.000

1919           0.123          0.000

1920           0.143          0.000

1921           0.157          0.000

1922           0.153          0.000

1923           0.125          0.000

1924           0.062          0.000

1925           0.082          0.000

1926           0.135          0.000

1927           0.112          0.000

1928           0.106          0.000

1929           0.214          0.000

1930           0.137          0.000

1931           0.134          0.000

1932           0.100          0.000

1933           0.118          0.000

1934           0.281          0.000

1935           0.132          0.000

1936           0.128          0.000

1937           0.191          0.000

1938           0.121          0.000

1939           0.013          0.000

1940           0.132          0.000

1941           0.086          0.000

1942           0.201          0.000

1943           0.095          0.000

1944           0.214          0.000

1945           0.159          0.000

1946           0.090          0.000

1947           0.071          0.000

1948           0.297          0.000

1949           0.264          0.000

1950           0.085          0.000

1951           0.108          0.000

1952           0.380          0.000

1953           0.351          0.000

1954           0.129          0.000

1955           0.112          0.000

1956           0.063          0.000

1957           0.186          0.000

1958           0.370          0.000

1959           0.230          0.000

1960           0.065          0.000

1961           0.234          0.000

1962           0.132          0.000

1963           0.062          0.000

1964           0.074          0.000

1965           0.265          0.000

1966           0.081          0.000

1967           0.119          0.000

1968           0.130          0.000

1969           0.121          0.000

1970           0.185          0.000

1971           0.276          0.000

1972           0.181          0.000

1973           0.237          0.000

1974           0.128          0.000

1975           0.288          0.000

1976           0.158          0.000

1977           0.080          0.000

1978           0.253          0.000

1979           0.078          0.000

1980           0.152          0.000

1981           0.146          0.000

1982           0.079          0.000

1983           0.233          0.000

1984           0.109          0.000

1985           0.174          0.000

1986           0.144          0.000

1987           0.270          0.000

1988           0.168          0.000

1989           0.154          0.000

1990           0.182          0.000

1991           0.144          0.000

1992           0.178          0.000

1993           0.189          0.000

1994           0.275          0.000

1995           0.068          0.000

1996           0.301          0.000

1997           0.135          0.000

1998           0.153          0.000

1999           0.021          0.000

2000           0.116          0.000

2001           0.060          0.000

2002           0.204          0.000

2003           0.177          0.000

2004           0.151          0.000

2005           0.291          0.000

2006           0.092          0.000

2007           0.101          0.000

2008           0.153          0.000

2009           0.105          0.000

2010           0.090          0.000

2011           0.082          0.000

2012           0.140          0.000

2013           0.090          0.000

2014           0.064          0.000

2015           0.124          0.000

2016           0.051          0.000

2017           0.203          0.000

2018           0.373          0.000

2019           0.394          1.564

2020           0.118          0.000

2021           0.193          0.000

2022           0.082          0.000

2023           0.162          0.000

2024           0.436          0.000

2025           0.144          0.000

2026           0.231          0.000

2027           0.091          0.000

2028           0.078          0.000

2029           0.154          0.000

2030           0.284          0.000

2031           0.091          0.000

2032           0.063          0.000

2033           0.086          0.000

2034           0.087          0.000

2035           0.332          0.000

2036           0.170          0.000

2037           0.049          0.000

2038           0.143          0.000

2039           0.024          0.000

2040           0.087          0.000

2041           0.102          0.000

2042           0.335          0.000

2043           0.162          0.000

2044           0.211          0.000

2045           0.139          0.000

2046           0.163          0.000

2047           0.122          0.000

2048           0.162          0.000

2049           0.145          0.000

2050           0.105          0.000

2051           0.168          0.000

2052           0.092          0.000

2053           0.156          0.000

2054           0.190          0.000

2055           0.079          0.000

2056           0.070          0.000

2057           0.108          0.000

2058           0.134          0.000

2059           0.224          0.000

___________________________________________________________________

Stream Protection Duration

Ranked Annual Peaks for Predeveloped and Mitigated.  POC #1

Rank     Predeveloped        Mitigated

1         0.4870              1.5636

2         0.4363              0.0000

3         0.3938              0.0000

4         0.3796              0.0000

5         0.3728              0.0000

6         0.3702              0.0000

7         0.3510              0.0000

8         0.3347              0.0000

9         0.3318              0.0000

10        0.3006              0.0000

11        0.2969              0.0000

12        0.2913              0.0000

13        0.2878              0.0000

14        0.2836              0.0000

15        0.2815              0.0000

16        0.2763              0.0000

17        0.2752              0.0000

18        0.2699              0.0000

19        0.2646              0.0000

20        0.2643              0.0000

21        0.2528              0.0000

22        0.2369              0.0000

23        0.2342              0.0000

24        0.2332              0.0000

25        0.2313              0.0000

26        0.2305              0.0000

27        0.2236              0.0000

28        0.2208              0.0000

29        0.2180              0.0000

30        0.2150              0.0000

31        0.2138              0.0000

32        0.2137              0.0000

33        0.2109              0.0000

34        0.2038              0.0000

35        0.2030              0.0000

36        0.2006              0.0000

37        0.1928              0.0000

38        0.1910              0.0000

39        0.1897              0.0000

40        0.1885              0.0000

41        0.1863              0.0000

42        0.1847              0.0000

43        0.1821              0.0000

44        0.1815              0.0000

45        0.1776              0.0000

46        0.1770              0.0000

47        0.1744              0.0000

48        0.1704              0.0000

49        0.1681              0.0000

50        0.1678              0.0000

51        0.1634              0.0000

52        0.1621              0.0000

53        0.1619              0.0000

54        0.1618              0.0000

55        0.1595              0.0000

56        0.1593              0.0000

57        0.1583              0.0000

58        0.1570              0.0000

59        0.1561              0.0000

60        0.1555              0.0000

61        0.1544              0.0000

62        0.1542              0.0000

63        0.1534              0.0000

64        0.1530              0.0000

65        0.1529              0.0000

66        0.1523              0.0000

67        0.1513              0.0000

68        0.1510              0.0000

69        0.1455              0.0000

70        0.1452              0.0000

71        0.1452              0.0000

72        0.1445              0.0000

73        0.1437              0.0000

74        0.1435              0.0000

75        0.1433              0.0000

76        0.1432              0.0000

77        0.1411              0.0000

78        0.1400              0.0000

79        0.1398              0.0000

80        0.1392              0.0000

81        0.1375              0.0000

82        0.1356              0.0000

83        0.1353              0.0000

84        0.1349              0.0000

85        0.1345              0.0000

86        0.1341              0.0000

87        0.1322              0.0000

88        0.1322              0.0000

89        0.1321              0.0000

90        0.1300              0.0000

91        0.1285              0.0000

92        0.1278              0.0000

93        0.1276              0.0000

94        0.1252              0.0000

95        0.1240              0.0000

96        0.1225              0.0000

97        0.1222              0.0000

98        0.1208              0.0000

99        0.1205              0.0000

100       0.1189              0.0000

101       0.1184              0.0000

102       0.1181              0.0000

103       0.1161              0.0000

104       0.1119              0.0000

105       0.1117              0.0000

106       0.1091              0.0000

107       0.1085              0.0000

108       0.1077              0.0000

109       0.1065              0.0000

110       0.1053              0.0000

111       0.1045              0.0000

112       0.1024              0.0000

113       0.1010              0.0000

114       0.1004              0.0000

115       0.0968              0.0000

116       0.0946              0.0000

117       0.0918              0.0000

118       0.0916              0.0000

119       0.0915              0.0000

120       0.0912              0.0000

121       0.0899              0.0000

122       0.0896              0.0000

123       0.0896              0.0000

124       0.0868              0.0000

125       0.0867              0.0000

126       0.0864              0.0000

127       0.0860              0.0000

128       0.0858              0.0000

129       0.0846              0.0000

130       0.0825              0.0000

131       0.0820              0.0000

132       0.0816              0.0000

133       0.0810              0.0000

134       0.0795              0.0000

135       0.0790              0.0000

136       0.0787              0.0000

137       0.0779              0.0000

138       0.0778              0.0000

139       0.0755              0.0000

140       0.0740              0.0000

141       0.0713              0.0000

142       0.0702              0.0000

143       0.0676              0.0000

144       0.0648              0.0000

145       0.0643              0.0000

146       0.0635              0.0000

147       0.0632              0.0000

148       0.0620              0.0000

149       0.0620              0.0000

150       0.0602              0.0000

151       0.0565              0.0000

152       0.0508              0.0000

153       0.0495              0.0000

154       0.0488              0.0000

155       0.0448              0.0000

156       0.0237              0.0000

157       0.0211              0.0000

158       0.0133              0.0000

___________________________________________________________________

Stream Protection Duration

POC #1

The Facility PASSED

The Facility PASSED.

Flow(cfs) Predev  Mit Percentage Pass/Fail

0.0707    60110   10     0      Pass

0.0735    55029   10     0      Pass

0.0764    50365   10     0      Pass

0.0792    46182   10     0      Pass

0.0821    42343   10     0      Pass

0.0849    38969   10     0      Pass

0.0878    35994   10     0      Pass

0.0907    33257   9      0      Pass

0.0935    30692   9      0      Pass

0.0964    28315   9      0      Pass

0.0992    26326   9      0      Pass

0.1021    24531   9      0      Pass

0.1049    22786   9      0      Pass

0.1078    21268   9      0      Pass

0.1106    19839   9      0      Pass

0.1135    18565   9      0      Pass

0.1163    17224   9      0      Pass

0.1192    16044   9      0      Pass

0.1220    14930   9      0      Pass

0.1249    13928   9      0      Pass

0.1277    12991   9      0      Pass

0.1306    12155   9      0      Pass

0.1335    11324   9      0      Pass

0.1363    10587   9      0      Pass

0.1392    9867    8      0      Pass

0.1420    9174    8      0      Pass

0.1449    8548    8      0      Pass

0.1477    7967    8      0      Pass

0.1506    7446    8      0      Pass

0.1534    6953    8      0      Pass

0.1563    6565    7      0      Pass

0.1591    6199    7      0      Pass

0.1620    5900    6      0      Pass

0.1648    5579    6      0      Pass

0.1677    5280    6      0      Pass

0.1705    5012    6      0      Pass

0.1734    4777    6      0      Pass

0.1763    4528    6      0      Pass

0.1791    4288    6      0      Pass

0.1820    4074    6      0      Pass

0.1848    3861    6      0      Pass

0.1877    3657    6      0      Pass

0.1905    3442    6      0      Pass

0.1934    3287    6      0      Pass

0.1962    3125    6      0      Pass

0.1991    2978    6      0      Pass

0.2019    2829    6      0      Pass

0.2048    2688    6      0      Pass

0.2076    2575    6      0      Pass

0.2105    2453    6      0      Pass

0.2133    2359    6      0      Pass

0.2162    2242    6      0      Pass

0.2191    2140    6      0      Pass

0.2219    1990    6      0      Pass

0.2248    1869    6      0      Pass

0.2276    1757    6      0      Pass

0.2305    1673    5      0      Pass

0.2333    1583    5      0      Pass

0.2362    1506    5      0      Pass

0.2390    1429    5      0      Pass

0.2419    1356    5      0      Pass

0.2447    1295    5      0      Pass

0.2476    1236    5      0      Pass

0.2504    1182    5      0      Pass

0.2533    1120    5      0      Pass

0.2561    1073    5      0      Pass

0.2590    1026    5      0      Pass

0.2619    967     5      0      Pass

0.2647    895     5      0      Pass

0.2676    834     5      0      Pass

0.2704    781     5      0      Pass

0.2733    736     5      0      Pass

0.2761    678     5      0      Pass

0.2790    631     5      0      Pass

0.2818    589     5      0      Pass

0.2847    555     5      0      Pass

0.2875    510     5      0      Pass

0.2904    475     5      1      Pass

0.2932    431     5      1      Pass

0.2961    391     5      1      Pass

0.2989    368     5      1      Pass

0.3018    341     5      1      Pass

0.3047    305     5      1      Pass

0.3075    280     5      1      Pass

0.3104    265     5      1      Pass

0.3132    247     5      2      Pass

0.3161    233     5      2      Pass

0.3189    218     5      2      Pass

0.3218    205     5      2      Pass

0.3246    182     5      2      Pass

0.3275    161     5      3      Pass

0.3303    139     5      3      Pass

0.3332    117     5      4      Pass

0.3360    110     5      4      Pass

0.3389    101     5      4      Pass

0.3417    92      5      5      Pass

0.3446    85      5      5      Pass

0.3475    73      5      6      Pass

0.3503    62      5      8      Pass

0.3532    54      5      9      Pass

_____________________________________________________

___________________________________________________________________

Water Quality BMP Flow and Volume for POC #1

On-line facility volume: 0.0322 acre-feet

On-line facility target flow: 0.0453 cfs.

Adjusted for 15 min: 0.0453 cfs.

Off-line facility target flow: 0.0264 cfs.

Adjusted for 15 min: 0.0264 cfs.

___________________________________________________________________

LID Report

LID Technique                 Used for    Total Volume   Volume    Infiltration  Cumulative   Percent     Water Quality  Percent       Comment

Treatment?  Needs          Through   Volume        Volume       Volume                     Water Quality

Treatment      Facility  (ac-ft.)       Infiltration Infiltrated                Treated

(ac-ft)        (ac-ft)                 Credit

Gravel Trench Bed 1 POC            N      1951.68                                      N      99.99

Total Volume Infiltrated                  1951.68        0.00      0.00                       99.99       0.00           0%            No Treat. Credit

Compliance with LID Standard 8                                                                                                         Duration Analysis Result = Passed

___________________________________________________________________

Perlnd and Implnd Changes

No changes have been made.

___________________________________________________________________

This program and accompanying documentation are provided 'as-is' without warranty of any kind.  The entire risk regarding the performance and results of this program is assumed by End User.   Clear Creek Solutions Inc. and the governmental licensee or sublicensees disclaim all warranties, either expressed or implied, including but not limited to implied warranties of program and accompanying documentation.  In no event shall Clear Creek Solutions Inc. be liable for any damages whatsoever (including without limitation to damages for loss of business profits, loss of business information, business interruption, and the like) arising out of the use of, or inability to use this program even if Clear Creek Solutions Inc. or their authorized representatives have been advised of the possibility of such damages.  Software Copyright © by : Clear Creek Solutions, Inc. 2005-2020; All Rights Reserved.